## Indoor
Size of Room | Volume | 300 | [11 empty] | No Mask / Cloth Mask | 1
| Length (m) | 10 | [11 empty] | Surgical Mask | 0.5
| Width (m) | 10 | [11 empty] | KN95 Mask | 0.25
| Height (m) | 3 | [11 empty] | N95 Mask | 0.05
ACH | Ventilation | 6
| Filtration | 0
| UV Disinfection | 0
| Time Start | 20:27
| Outdoor CO2 | 480
| Initial CO2 | 1400
| Rate of Activity | 0
Probability of Infection |  | 26.88 %
Volume (m^3) | 300 |  | No. of Occupants | Index Case |  |  | Mask Worn by Infected |  |  | Susceptible Case | Mask worn by the susceptible | quanta Concentration | E/V | Breathing Flow Rate (m^3/hr) | Loss due to dilution | Loss due to breathing | Accumulated Dose | Time | Probability of Infection | Indoor CO2 Concentration | Outdoor CO2 Concentration
Activity |  | Duration (s) |  | Breathing | Speaking | Coughing | Breathing | Speaking | Coughing
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0 | 3.3333 | 0.65 | 0 | 0 | 0 | 20:26 | 0 | 1400 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.027778 | 3.3333 | 0.65 | 0.16667 | 3.7616e-05 | 0.00015046 | 20:26 | 0.02 | 1405.4583 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.054166 | 3.3333 | 0.65 | 0.325 | 7.335e-05 | 0.00044386 | 20:27 | 0.04 | 1410.6437 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.079235 | 3.3333 | 0.65 | 0.47541 | 0.0001073 | 0.00087305 | 20:28 | 0.09 | 1415.5699 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.10305 | 3.3333 | 0.65 | 0.6183 | 0.00013955 | 0.0014312 | 20:28 | 0.14 | 1420.2497 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.12567 | 3.3333 | 0.65 | 0.75405 | 0.00017018 | 0.002112 | 20:29 | 0.21 | 1424.6956 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.14717 | 3.3333 | 0.65 | 0.883 | 0.00019929 | 0.0029091 | 20:29 | 0.29 | 1428.9191 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.16758 | 3.3333 | 0.65 | 1.0055 | 0.00022694 | 0.0038169 | 20:30 | 0.38 | 1432.9315 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.18698 | 3.3333 | 0.65 | 1.1219 | 0.0002532 | 0.0048297 | 20:30 | 0.48 | 1436.7433 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.20541 | 3.3333 | 0.65 | 1.2324 | 0.00027816 | 0.0059423 | 20:31 | 0.59 | 1440.3644 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.22291 | 3.3333 | 0.65 | 1.3375 | 0.00030186 | 0.0071498 | 20:31 | 0.71 | 1443.8046 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.23954 | 3.3333 | 0.65 | 1.4373 | 0.00032438 | 0.0084473 | 20:32 | 0.84 | 1447.0727 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.25534 | 3.3333 | 0.65 | 1.532 | 0.00034577 | 0.0098304 | 20:32 | 0.98 | 1450.1774 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.27035 | 3.3333 | 0.65 | 1.6221 | 0.0003661 | 0.011295 | 20:33 | 1.12 | 1453.1268 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.28461 | 3.3333 | 0.65 | 1.7076 | 0.0003854 | 0.012836 | 20:33 | 1.28 | 1455.9288 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.29815 | 3.3333 | 0.65 | 1.7889 | 0.00040374 | 0.014451 | 20:34 | 1.43 | 1458.5907 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.31102 | 3.3333 | 0.65 | 1.8661 | 0.00042117 | 0.016136 | 20:34 | 1.6 | 1461.1195 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.32324 | 3.3333 | 0.65 | 1.9394 | 0.00043772 | 0.017887 | 20:35 | 1.77 | 1463.5219 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.33485 | 3.3333 | 0.65 | 2.0091 | 0.00045345 | 0.019701 | 20:35 | 1.95 | 1465.8041 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.34588 | 3.3333 | 0.65 | 2.0753 | 0.00046838 | 0.021574 | 20:36 | 2.13 | 1467.9722 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.35636 | 3.3333 | 0.65 | 2.1382 | 0.00048258 | 0.023505 | 20:36 | 2.32 | 1470.032 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.36632 | 3.3333 | 0.65 | 2.1979 | 0.00049606 | 0.025489 | 20:37 | 2.52 | 1471.9887 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.37578 | 3.3333 | 0.65 | 2.2547 | 0.00050886 | 0.027524 | 20:37 | 2.71 | 1473.8476 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.38476 | 3.3333 | 0.65 | 2.3086 | 0.00052103 | 0.029608 | 20:38 | 2.92 | 1475.6135 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.3933 | 3.3333 | 0.65 | 2.3598 | 0.00053259 | 0.031739 | 20:38 | 3.12 | 1477.2912 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.40141 | 3.3333 | 0.65 | 2.4084 | 0.00054357 | 0.033913 | 20:39 | 3.33 | 1478.885 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.40911 | 3.3333 | 0.65 | 2.4547 | 0.000554 | 0.036129 | 20:39 | 3.55 | 1480.3991 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.41643 | 3.3333 | 0.65 | 2.4986 | 0.00056391 | 0.038385 | 20:40 | 3.77 | 1481.8374 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.42338 | 3.3333 | 0.65 | 2.5403 | 0.00057332 | 0.040678 | 20:40 | 3.99 | 1483.2039 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.42998 | 3.3333 | 0.65 | 2.5799 | 0.00058227 | 0.043007 | 20:41 | 4.21 | 1484.502 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.43626 | 3.3333 | 0.65 | 2.6175 | 0.00059076 | 0.04537 | 20:41 | 4.44 | 1485.7353 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.44222 | 3.3333 | 0.65 | 2.6533 | 0.00059883 | 0.047765 | 20:42 | 4.66 | 1486.9068 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.44788 | 3.3333 | 0.65 | 2.6873 | 0.0006065 | 0.050191 | 20:42 | 4.9 | 1488.0198 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.45326 | 3.3333 | 0.65 | 2.7195 | 0.00061379 | 0.052647 | 20:43 | 5.13 | 1489.0772 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.45837 | 3.3333 | 0.65 | 2.7502 | 0.0006207 | 0.055129 | 20:43 | 5.36 | 1490.0816 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.46322 | 3.3333 | 0.65 | 2.7793 | 0.00062728 | 0.057638 | 20:44 | 5.6 | 1491.0359 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.46783 | 3.3333 | 0.65 | 2.807 | 0.00063352 | 0.060173 | 20:44 | 5.84 | 1491.9424 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.47221 | 3.3333 | 0.65 | 2.8333 | 0.00063946 | 0.06273 | 20:45 | 6.08 | 1492.8036 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.47637 | 3.3333 | 0.65 | 2.8582 | 0.00064509 | 0.065311 | 20:45 | 6.32 | 1493.6218 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.48033 | 3.3333 | 0.65 | 2.882 | 0.00065045 | 0.067913 | 20:46 | 6.57 | 1494.399 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.48408 | 3.3333 | 0.65 | 2.9045 | 0.00065553 | 0.070535 | 20:46 | 6.81 | 1495.1374 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.48765 | 3.3333 | 0.65 | 2.9259 | 0.00066036 | 0.073176 | 20:47 | 7.06 | 1495.8389 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.49104 | 3.3333 | 0.65 | 2.9463 | 0.00066495 | 0.075836 | 20:47 | 7.3 | 1496.5053 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.49426 | 3.3333 | 0.65 | 2.9656 | 0.00066931 | 0.078513 | 20:48 | 7.55 | 1497.1383 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.49732 | 3.3333 | 0.65 | 2.9839 | 0.00067346 | 0.081207 | 20:48 | 7.8 | 1497.7398 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.50023 | 3.3333 | 0.65 | 3.0014 | 0.00067739 | 0.083917 | 20:49 | 8.05 | 1498.3111 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.50299 | 3.3333 | 0.65 | 3.0179 | 0.00068113 | 0.086641 | 20:49 | 8.3 | 1498.8539 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.50561 | 3.3333 | 0.65 | 3.0337 | 0.00068468 | 0.08938 | 20:50 | 8.55 | 1499.3695 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.5081 | 3.3333 | 0.65 | 3.0486 | 0.00068806 | 0.092132 | 20:50 | 8.8 | 1499.8594 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.51047 | 3.3333 | 0.65 | 3.0628 | 0.00069126 | 0.094897 | 20:51 | 9.05 | 1500.3247 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.51272 | 3.3333 | 0.65 | 3.0763 | 0.00069431 | 0.097674 | 20:51 | 9.31 | 1500.7668 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.51485 | 3.3333 | 0.65 | 3.0891 | 0.0006972 | 0.10046 | 20:52 | 9.56 | 1501.1868 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.51688 | 3.3333 | 0.65 | 3.1013 | 0.00069995 | 0.10326 | 20:52 | 9.81 | 1501.5858 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.51881 | 3.3333 | 0.65 | 3.1129 | 0.00070256 | 0.10607 | 20:53 | 10.06 | 1501.9649 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.52064 | 3.3333 | 0.65 | 3.1239 | 0.00070504 | 0.10889 | 20:53 | 10.32 | 1502.325 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.52238 | 3.3333 | 0.65 | 3.1343 | 0.00070739 | 0.11172 | 20:54 | 10.57 | 1502.667 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.52404 | 3.3333 | 0.65 | 3.1442 | 0.00070963 | 0.11456 | 20:54 | 10.82 | 1502.992 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.52561 | 3.3333 | 0.65 | 3.1536 | 0.00071176 | 0.11741 | 20:55 | 11.08 | 1503.3008 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.5271 | 3.3333 | 0.65 | 3.1626 | 0.00071378 | 0.12026 | 20:55 | 11.33 | 1503.5941 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.52851 | 3.3333 | 0.65 | 3.1711 | 0.0007157 | 0.12313 | 20:56 | 11.58 | 1503.8727 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.52986 | 3.3333 | 0.65 | 3.1792 | 0.00071752 | 0.126 | 20:56 | 11.84 | 1504.1374 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.53114 | 3.3333 | 0.65 | 3.1868 | 0.00071925 | 0.12887 | 20:57 | 12.09 | 1504.3888 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.53235 | 3.3333 | 0.65 | 3.1941 | 0.0007209 | 0.13176 | 20:57 | 12.34 | 1504.6277 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.53351 | 3.3333 | 0.65 | 3.201 | 0.00072246 | 0.13465 | 20:58 | 12.6 | 1504.8547 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.5346 | 3.3333 | 0.65 | 3.2076 | 0.00072394 | 0.13754 | 20:58 | 12.85 | 1505.0703 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.53565 | 3.3333 | 0.65 | 3.2139 | 0.00072535 | 0.14044 | 20:59 | 13.1 | 1505.2751 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.53663 | 3.3333 | 0.65 | 3.2198 | 0.00072669 | 0.14335 | 20:59 | 13.35 | 1505.4697 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.53757 | 3.3333 | 0.65 | 3.2254 | 0.00072797 | 0.14626 | 21:00 | 13.61 | 1505.6545 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.53847 | 3.3333 | 0.65 | 3.2308 | 0.00072918 | 0.14918 | 21:00 | 13.86 | 1505.8301 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.53932 | 3.3333 | 0.65 | 3.2359 | 0.00073032 | 0.1521 | 21:01 | 14.11 | 1505.997 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54012 | 3.3333 | 0.65 | 3.2407 | 0.00073142 | 0.15503 | 21:01 | 14.36 | 1506.1554 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54089 | 3.3333 | 0.65 | 3.2453 | 0.00073245 | 0.15796 | 21:02 | 14.61 | 1506.306 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54161 | 3.3333 | 0.65 | 3.2497 | 0.00073344 | 0.16089 | 21:02 | 14.86 | 1506.449 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54231 | 3.3333 | 0.65 | 3.2538 | 0.00073437 | 0.16383 | 21:03 | 15.11 | 1506.5849 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54296 | 3.3333 | 0.65 | 3.2578 | 0.00073526 | 0.16677 | 21:03 | 15.36 | 1506.714 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54359 | 3.3333 | 0.65 | 3.2615 | 0.00073611 | 0.16971 | 21:04 | 15.61 | 1506.8366 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54418 | 3.3333 | 0.65 | 3.2651 | 0.00073691 | 0.17266 | 21:04 | 15.86 | 1506.9531 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54474 | 3.3333 | 0.65 | 3.2684 | 0.00073767 | 0.17561 | 21:05 | 16.11 | 1507.0638 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54528 | 3.3333 | 0.65 | 3.2717 | 0.00073839 | 0.17856 | 21:05 | 16.35 | 1507.169 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54578 | 3.3333 | 0.65 | 3.2747 | 0.00073908 | 0.18152 | 21:06 | 16.6 | 1507.2688 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54627 | 3.3333 | 0.65 | 3.2776 | 0.00073973 | 0.18448 | 21:06 | 16.85 | 1507.3637 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54672 | 3.3333 | 0.65 | 3.2803 | 0.00074036 | 0.18744 | 21:07 | 17.09 | 1507.4539 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54716 | 3.3333 | 0.65 | 3.283 | 0.00074095 | 0.19041 | 21:07 | 17.34 | 1507.5395 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54757 | 3.3333 | 0.65 | 3.2854 | 0.00074151 | 0.19337 | 21:08 | 17.58 | 1507.6209 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54797 | 3.3333 | 0.65 | 3.2878 | 0.00074204 | 0.19634 | 21:08 | 17.83 | 1507.6982 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54834 | 3.3333 | 0.65 | 3.29 | 0.00074254 | 0.19931 | 21:09 | 18.07 | 1507.7716 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54869 | 3.3333 | 0.65 | 3.2922 | 0.00074302 | 0.20228 | 21:09 | 18.31 | 1507.8413 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54903 | 3.3333 | 0.65 | 3.2942 | 0.00074348 | 0.20526 | 21:10 | 18.56 | 1507.9076 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54935 | 3.3333 | 0.65 | 3.2961 | 0.00074391 | 0.20823 | 21:10 | 18.8 | 1507.9706 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54965 | 3.3333 | 0.65 | 3.2979 | 0.00074432 | 0.21121 | 21:11 | 19.04 | 1508.0304 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.54994 | 3.3333 | 0.65 | 3.2997 | 0.00074472 | 0.21419 | 21:11 | 19.28 | 1508.0872 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55022 | 3.3333 | 0.65 | 3.3013 | 0.00074509 | 0.21717 | 21:12 | 19.52 | 1508.1412 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55048 | 3.3333 | 0.65 | 3.3029 | 0.00074544 | 0.22015 | 21:12 | 19.76 | 1508.1924 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55073 | 3.3333 | 0.65 | 3.3044 | 0.00074578 | 0.22313 | 21:13 | 20 | 1508.2411 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55096 | 3.3333 | 0.65 | 3.3058 | 0.00074609 | 0.22612 | 21:13 | 20.24 | 1508.2874 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55119 | 3.3333 | 0.65 | 3.3071 | 0.0007464 | 0.2291 | 21:14 | 20.48 | 1508.3314 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.5514 | 3.3333 | 0.65 | 3.3084 | 0.00074668 | 0.23209 | 21:14 | 20.71 | 1508.3731 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.5516 | 3.3333 | 0.65 | 3.3096 | 0.00074696 | 0.23508 | 21:15 | 20.95 | 1508.4128 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55179 | 3.3333 | 0.65 | 3.3107 | 0.00074722 | 0.23807 | 21:15 | 21.18 | 1508.4505 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55197 | 3.3333 | 0.65 | 3.3118 | 0.00074746 | 0.24106 | 21:16 | 21.42 | 1508.4863 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55215 | 3.3333 | 0.65 | 3.3129 | 0.0007477 | 0.24405 | 21:16 | 21.65 | 1508.5203 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55231 | 3.3333 | 0.65 | 3.3139 | 0.00074792 | 0.24704 | 21:17 | 21.89 | 1508.5527 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55247 | 3.3333 | 0.65 | 3.3148 | 0.00074813 | 0.25003 | 21:17 | 22.12 | 1508.5834 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55261 | 3.3333 | 0.65 | 3.3157 | 0.00074833 | 0.25302 | 21:18 | 22.36 | 1508.6125 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55276 | 3.3333 | 0.65 | 3.3165 | 0.00074852 | 0.25602 | 21:18 | 22.59 | 1508.6402 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55289 | 3.3333 | 0.65 | 3.3173 | 0.0007487 | 0.25901 | 21:19 | 22.82 | 1508.6666 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55302 | 3.3333 | 0.65 | 3.3181 | 0.00074888 | 0.26201 | 21:19 | 23.05 | 1508.6916 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55314 | 3.3333 | 0.65 | 3.3188 | 0.00074904 | 0.265 | 21:20 | 23.28 | 1508.7153 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55325 | 3.3333 | 0.65 | 3.3195 | 0.00074919 | 0.268 | 21:20 | 23.51 | 1508.7379 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55336 | 3.3333 | 0.65 | 3.3202 | 0.00074934 | 0.271 | 21:21 | 23.74 | 1508.7593 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55346 | 3.3333 | 0.65 | 3.3208 | 0.00074948 | 0.274 | 21:21 | 23.97 | 1508.7797 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55356 | 3.3333 | 0.65 | 3.3214 | 0.00074962 | 0.277 | 21:22 | 24.19 | 1508.799 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55366 | 3.3333 | 0.65 | 3.3219 | 0.00074974 | 0.27999 | 21:22 | 24.42 | 1508.8174 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55374 | 3.3333 | 0.65 | 3.3225 | 0.00074986 | 0.28299 | 21:23 | 24.65 | 1508.8349 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55383 | 3.3333 | 0.65 | 3.323 | 0.00074998 | 0.28599 | 21:23 | 24.87 | 1508.8515 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55391 | 3.3333 | 0.65 | 3.3235 | 0.00075008 | 0.28899 | 21:24 | 25.1 | 1508.8672 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55398 | 3.3333 | 0.65 | 3.3239 | 0.00075019 | 0.29199 | 21:24 | 25.32 | 1508.8822 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55406 | 3.3333 | 0.65 | 3.3243 | 0.00075029 | 0.295 | 21:25 | 25.55 | 1508.8964 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55413 | 3.3333 | 0.65 | 3.3248 | 0.00075038 | 0.298 | 21:25 | 25.77 | 1508.9099 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55419 | 3.3333 | 0.65 | 3.3251 | 0.00075047 | 0.301 | 21:26 | 25.99 | 1508.9228 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55425 | 3.3333 | 0.65 | 3.3255 | 0.00075055 | 0.304 | 21:26 | 26.21 | 1508.935 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55431 | 3.3333 | 0.65 | 3.3259 | 0.00075063 | 0.307 | 21:27 | 26.44 | 1508.9466 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55437 | 3.3333 | 0.65 | 3.3262 | 0.00075071 | 0.31001 | 21:27 | 26.66 | 1508.9576 | 480
|  | 30 | 75 | 0 | 0 | 1 | No Mask / Cloth Mask | No Mask / Cloth Mask | No Mask / Cloth Mask | 74 | No Mask / Cloth Mask | 0.55442 | 3.3333 | 0.65 | 3.3265 | 0.00075078 | 0.31301 | 21:28 | 26.88 | 1508.968 | 480